[image: image1.jpg]Multi-function Optical Time Domain Reflectometer

OTDR Multi-function tester

Optical Loss Test

File Explorer

8 3 3 135esae BSCP g 2023-11-22 12:36:31

*—

LS

Laser Source

RETURN

7\

k ; CAT Il
= s
soover \ N/ 4

v/iQ

A%,

(@
A\

FUSED

)

|
10A MAX \\\\:;//
UN FUSED m




  

[image: image17.jpg]Auto OTDR test

Expert OTDR

Auto OTDR by default

Setting

File
Manageme

Event Map

Event list rchain  ABRuler Test Report

Scopekm
Real time w

13100m

1550 0m

AB ruler: includes loss, distance and attenuation of AB section

le
Manageme

nt
Event Map

wentver”| Fiercran [N Fometer race o Gtk uiksmwe | st o

A8 Distance: 2ptoss Average Loss:
Start
2pan: Average At




[image: image2.png]



[image: image3.png]


[image: image4.png],1 §0‘

m
4



[image: image5.png]


[image: image6.png]LS



[image: image7.png]


[image: image8.png]


[image: image9.png]


[image: image10.png]



[image: image11.png]


[image: image12.png]


[image: image13.png]


[image: image14.png]


[image: image15.png]N

=

4K 30fps
4



[image: image16.png]







Multi-functional OTDR and measuring instrument
 8 inch IPS touch screen, 1920*1200 resolution
 Internal storage and external TF card 

 Report saved as EXCEL, PDF, or screenshots format etc
 ONE Gigabit SFP port, support insert SFP optical fiber module, 
for optical fiber network testing
 Support snap shot screen

 Support remote control

HDMI input * Optional 
 DC5V 2A power output 

 Gigabit network port, support Ping and scan IP address etc

 RJ45 TDR cable’s short and open test
 Improvement cable tester, UTP cable etc continuity test
 PoE switch supply power protocol detection, power detection and supply power line detection
 Stable laser source, optical power meter and visual fault locator. 


Multi-function MOT-85 OTDR series is an essential tool for fiber length and network cable. OTDR displays the power of the returned signal related to distance. The information can be used to confirm the transmission quality of a fiber optic link. It is widely used in the maintenance, construction and monitoring of cable line. It can measure the optical fiber length, transmission attenuation of optical fiber, attenuation of splice, and failure location, etc. If taking the all in one OTDR, it will make working conditions safer and increasing productivity.

● Fiber length testing and Event Map etc

● Network cabling project installation and maintenance  


OTDR  
● 8 inch IPS touch screen, 1920*1200 resolutions
● 1310/1550/1610 wavelength optional, 26/28/30/32/34dB Dynamic range optional, max test range 150KM*
● Stable laser source, support CW/270/330/1000/2000Hz

● Test fiber’s length, loss, attenuation parameters and event map, locate connection point/ fusion point

● Automatic analysis of various linkers/fusion points, easy analyze of various events
● Save and view the testing curves, support zoom and move curves, view details

● Support saving curves number ≥30000pcs 
● Support create testing report, curve trajectory graphs, parameter settings, fiber event information, and fiber link information
● Report saved as EXCEL, PDF, or screenshots format etc

● Optical Loss test, detect the optical or optical components loss value .It is a key basic function for confirming the optic fiber installation condition and fault status. Light source shares with OTDR ports outputs laser light. 
● Visual Fault Locator, it Outputs red light for checking continuity of launch fibers or short patch cord. Breaks and bending in fiber can be identified visually.
● Stable Laser Source, it shares OTDR optical port and work on the same working wavelength of OTDR, the output power can be adjustable for different testing applications. With modulated light at 270Hz/330Hz/1 kHz/2kHz, it can be used for fiber identification or continuity check purpose on a live fiber network.
● Optical power meter with five wavelength 1625nm,1550nm, 1490nm, 1310nm,1300nm, 850nm, linear or nonlinear optical power display, both for optical power testing and Fiber link loss relative measurement.
● Digital multimeter, DC and AC voltage measurement, Resistance measurement, Continuity test, Diode measurements, Capacitance measurement
Cable test:

● Improvement cable tester, UTP cable, telephone cable etc sequence and continuity test, save testing report. Support detect the near-end, mid-end and far-end fault point of the RJ45 cable plug

    ● Upgraded RJ45 cable TDR test, support cable’s open and short testing, max test 180m
● Cable tracer, search BNC cable, network cable and telephone cable from the mess cables 
Other functions
●ONE Gigabit SFP port, support insert SFP optical fiber module, for optical fiber network testing
● Advanced Network Tool, Scan IP, Route tracking, Socket debugging, ping packet test, DHCP, PPPOE, LLDP
● 11.1V 5200mA Li-ion Battery, 3.5 hours charging, normal working time lasts 11 hours
	OTDR Technical Specifications 

	Wavelength (nm) Optional *
	1310/1550
	1610

	Only support detects optical signal
	Support
	N/A

	Support Active fiber testing
	N/A
	Support 

	Dynamic range(dB)2  Optional*
	28/26
	30/28
	32/30
	32/34
	28
	30
	32

	Pulse width (ns)
	5,10,20,30,50,80,160,300,500,800,1000,2000,4000,6000,10000,20000

	Testing range
	≤150 Km

	Event blind zone (m)3
	≤0.8m

	Attenuation blind zone (m)3
	≤3m

	Linearity (dB/dB)
	±0.05 dB/ dB

	Loss threshold (dB)
	0.05

	Loss resolution ratio (dB)
	0.01

	Minimum distance resolution
	0.05

	Sampling point(K)
	32-128

	Distance uncertainty (m)
	±(1 m + 5×10-5× distance + sampling interval)

	Distance scope (km)
	0.5,1,2,5,10,25,50,100,200

	Typical real-time refreshing duration
	1s

	File format
	SOR standard format/PDF/EXCEL

	Measurement duration
	5sec, 10sec, 15sec, 30sec, 1min, 2min, and 3min are selectable

	Storage
	FLASH (EMMC)8G + TF card

	Interface type
	FC-UPC, SC-UPC

	Remarks: 
1. The technical specification describes the ensured performance of the instrument when using typical PC model connector to measure, without considering the uncertainty caused by optical fiber refractivity.
2. Dynamic range is the data measured under the condition of the maximum pulse width and 3 minutes of average time. Dynamic range is the data measured under the condition of 200km/20000ns/3min.
3. Measuring conditions of blind zone: reflection event is within 5Km, reflection strength is 45dB. Measured by the minimum pulse width.



	Specification

	Size & Display 
	8 inch IPS touch screen ,1920*1200 resolution

	Network Port
	Dual 1000M LAN port, 10/100/1000M auto adapt 

	WIFI
	Built in 2.4G WIFI, speeds150M, display wireless camera image

	ONE Gigabit SFP port
	support insert SFP optical fiber module, for optical fiber network testing

	RJ45 cable TDR test
	For UTP cable’s open and short test, max 180M 

	HDMI input  
	HDMI input  (Optional) *

	Power output
	5V 2A power output 

	UTP cable test
	Test UTP cable connection status and display on the screen. Read the number on the screen. detect the near-end, mid-end and far-end fault point of RJ45 cable connector, can test shield cable

	RJ45 TDR cable test
	Support cable’s open and short testing, max 180m

	Network test
	Trace route, Link monitor, DHCP server, port flashing, Ping test

	Digital Cable tracer
	Search BNC cable, network cable and telephone cable from the mess cables. Cable tracer and UTP cable test app in the same interface, also can search shield cable

	Electroscope
	Voltage range
	AC12-1000V

	
	Frequency
	50/60Hz

	
	Alarm type
	Sounds and light double alarms

	
	Level
	CAT.III 1000V / CAT.IV 600V;CE

	PoE Voltage test
	Measurement POE switch or PSE power supply voltage and cable connection status

	Visual fault locator
	10mW visual fault locator with 650nm wavelength, emit red laser sources to test multi-mode and single mode fiber’s bending and breakage, test range 8KM 

	Digital Multi-meter
	DC and AC voltage measurement, Resistance measurement, Continuity test, Diode measurements, Capacitance measurement

	Optical power meter
	Wavelength:1625,1550nm,1490nm,1310nm,1300nm,850nm, measurement range ,-70 ～ +10 dBm, for optical power testing and Fiber link loss relative measurement

	Power

	External power supply
	DC 12V（2A）

	Battery
	Built-in 11.1V Li-ion battery, 5200mAh

	Rechargeable
	After charging 3.5 hours, normal working time 11 hours

	Parameter

	Operation setting
	OSD menu, select your desired language: English, Portuguese, Korean, Russian, Italian, French, Polish, Spanish, Japanese, Turkish, Deutsch, Serbian, Czech, Vietnamese etc

	Auto off
	5-30 (mins)

	Working environment

	Working Temperature
	-10℃---+50℃

	Working Humidity
	30%-90%

	Dimension/Weight
	274mmX171mmX50mm / 1.2Kg


Note:“*”sign means functions are customizable！The data above is only for reference and any change of them will not be informed in advance. For more detailed technical inquiries, please feel free to contact us
MOT-85 series OTDR





8 inch larger touch screen display with 1920 x1200 resolution  


Multifunction OTDR combined with cable tester, OPM, VFL and VLS    








Stable laser source





Optical signal 








OPM





OTDR testing





WIFI





VFL





Max 150KM





Optical loss test








RJ45 TDR 





DMM








POE detection








Cable tracer








UTP cable test 





Network Tool 








HDMI Optional 














MOT-85 series OTDR





Application


aWI-FI





OTDR





Features








MOT-85 series OTDR





Specifications








MT-8500 series OTDR








