
[image: image1.png]POWER

-
[2_JI
@ |
a»|
a»|
a»
o i
-~ i

OTDR

tometer

B § 20280320 165511

OTDR Multi-function tester
. Auto HD .

’.—’
x

MODE  SNov  Russts

. CVBS & HD.
7*’7 e - a .

m O b

File Explorer  Settings  NET TOOL




[image: image2.jpg]OTDR Multi-function tester

-

OTDR

e e

{

OTDR

S osorzros

Focus+  Focus—

WS+ RS-

CVBS&HD
Camera

&
5

NETTOOL.

22|

= O

Setings

7

)

ol
m

Flle Explorer Cleaner




[image: image3.jpg]


[image: image4.png]»
A



[image: image5.png]


[image: image6.png],1 §0‘

m
4



[image: image7.png]


[image: image8.png]


[image: image9.png]


[image: image10.png]


[image: image11.png]


[image: image12.png]


[image: image13.png]


[image: image14.png]


[image: image15.png]


[image: image16.png]


[image: image17.png]


[image: image18.png]


[image: image19.png]LS



[image: image20.jpg]Auto OTDR test

Expert OTDR

Auto OTDR by default

Setting

File
Manageme

Event Map

Event list rchain  ABRuler Test Report

Scopekm
Real time w

13100m

1550 0m

AB ruler: includes loss, distance and attenuation of AB section

le
Manageme

nt
Event Map

wentver”| Fiercran [N Fometer race o Gtk uiksmwe | st o

A8 Distance: 2ptoss Average Loss:
Start
2pan: Average At





 Multi-functional OTDR and measuring instrument
5.4 inch IPS touch screen, 1920*1152 resolution
 4K H.265 & H.264 IP camera tester 
 4 core CPU, support online update and install applications
 Internal storage and external TF card 

 Report saved as EXCEL, PDF, or screenshots format etc
 Support snap shot screen
 Support remote control
 8MP TVI CVI AHD camera testing * Optional
 HDMI input/VGA input * Optional 
 DC24V 2A/ 12V 3A / 5V 2A power output 
 Gigabit network port, support Ping and scan IP address etc
RJ45 TDR cable’s short and open test
 Improvement cable tester, UTP cable etc continuity test
PoE power output and PoE voltage and power measurement 
Stable laser source, optical power meter and visual fault locator. 



Multi-function MT-6500 OTDR series is an essential tool for fiber length, network and camera testing. OTDR displays the power of the returned signal related to distance. The information can be used to confirm the transmission quality of a fiber optic link. It is widely used in the maintenance, construction and monitoring of cable line. It can measure the optical fiber length, transmission attenuation of optical fiber, attenuation of splice, and failure location, etc. as well, built in camera tester for maintenance and installation of IP analog, HD coaxial cameras as well as other security equipment. If taking the all in one OTDR, it will make working conditions safer and increasing productivity.

● CCTV system installation and maintenance 

● Network cabling project installation and maintenance  

● Dome camera, TVI CVI AHD 4K H.265 IP camera testing

● Video transmission channel testing 

● PTZ controller

● Fiber length testing and Event Map etc 



OTDR  
● 5.4 inch IPS touch screen, 1920*1152 resolutions
● 1310/1550/1610 wavelength optional, 26/28/30/32/34dB Dynamic range optional, max test range 150KM*
● Stable laser source, support CW/270/330/1000/2000Hz

● Test fiber’s length, loss, attenuation parameters and event map, locate connection point/ fusion point

● Automatic analysis of various linkers/fusion points, easy analyze of various events
● Save and view the testing curves, support zoom and move curves, view details

● Support saving curves number ≥30000pcs 
● Support create testing report, including curve trajectory graphs, parameter settings, fiber event information, and fiber link information
● Report saved as EXCEL, PDF, or screenshots format etc

  ● Loss test, detect the optical or optical components loss value

  ● Stable laser source, optical power meter and visual fault locator

Camera testing 

   ● 5.4 inch IPS touch screen, 1920*1152 resolution
● 4K H.265 video display via mainstream

●TVI 4.0/ CVI 5.0/ AHD 4.0 camera test, UTC control & call OSD menu（Only for Model 6510）*
● AXIS, Hikvision, dahua camera testing, enter ONVIF app, input username and password to test

● DC12V/3A power output, support temporarily supply power for the camera

● 48V PoE power output



● Chrome browser, test and set Axis camera 

 ● Support CVI 5.0 Audio testing (Only for model MT-6510) *
 ● Rapid video, just by one key to detect all network cameras and auto display 
● Built in Wi-Fi, display image from the wireless camera, create WIFI hotspot

● 4K HDMI input Optional （Only for model MT-6510）*
● 2K 60F VGA input Optional（Only for model MT-6510 *
Cable test:

● Improvement cable tester, UTP cable, telephone cable etc sequence and continuity test, save testing report. Support detect the near-end, mid-end and far-end fault point of the RJ45 cable plug

    ● Upgraded RJ45 cable TDR test, support cable’s open and short testing, max test 600m
● Cable tracer, search BNC cable, network cable and telephone cable from the mess cables 

Other functions

● New Power management file, Output power and input power management interface, to quickly check POE48V, 24V2A, 12V3A power and voltage  

● POE & power information, DC12V& PoE power and voltage output /input measurement

● Tester Play: Tester, android version mobile phone and PC display at the same time 

● Advanced Network Tool, Scan IP, Route tracking, Socket debugging, ping packet test,DHCP,PPPOE,LLDP
● 7.4V 5200mA Li-ion Battery, 2.5 hours charging, normal working time lasts 11 hours

	OTDR Technical Specifications 

	Wavelength (nm) Optional *
	1310/1550
	1610

	Only support detects the optical signal 
	Support
	N/A

	Support fiber testing without having to disconnect the fiber or interrupt network data traffic
	N/A
	Support 

	Dynamic range(dB)2  Optional*
	28/26
	30/28
	32/30
	34/32
	28
	30
	32
	34

	Pulse width (ns)
	5,10,20,30,50,80,160,300,500,800,1000,2000,4000,6000,10000,20000

	Testing range
	≤150 Km

	Event blind zone (m)3
	≤0.8m

	Attenuation blind zone (m)3
	≤3m

	Linearity (dB/dB)
	±0.05 dB/ dB

	Loss threshold (dB)
	0.05

	Loss resolution ratio (dB)
	0.01

	Minimum distance resolution
	0.05

	Sampling point(K)
	32-128

	Distance uncertainty (m)
	±(1 m + 5×10-5× distance + sampling interval)

	Distance scope (km)
	0.5,1,2,5,10,25,50,100,200

	Typical real-time refreshing duration
	1s

	File format
	SOR standard format/PDF/EXCEL

	Measurement duration
	5sec, 10sec, 15sec, 30sec, 1min, 2min, and 3min are selectable

	Storage
	FLASH (EMMC)8G + TF card

	Interface type
	 SC-UPC 

	Remarks: 
1. The technical specification describes the ensured performance of the instrument when using typical PC model connector to measure, without considering the uncertainty caused by optical fiber refractivity.
2. Dynamic range is the data measured under the condition of the maximum pulse width and 3 minutes of average time. Dynamic range is the data measured under the condition of 200km/20000ns/3min.
3. Measuring conditions of blind zone: reflection event is within 5Km, reflection strength is 45dB. Measured by the minimum pulse width.


Note:“*”sign means functions are customizable！The data above is only for reference and any change of them will not be informed in advance. For more detailed technical inquiries, please feel free to contact us.
	Specification

	Size & Display 
	5.4 inch IPS touch screen ,1920*1152 resolution

	Network Port
	One 1000M LAN port, 10/100/1000M auto adapt 

	WIFI
	Built in 2.4G WIFI, speeds150M, display wireless camera image

	H.265 mainstream test
	H.265 & H .264 IP, 4K video display via mainstream

	IP camera test
	Support 500 brands IP camera test

	IP discovery
	Auto-scan the whole network segment IP address

	HD coaxial camera test 
	TVI 4.0/ CVI 5.0/ AHD 4.0 camera test, UTC control & call OSD menu (Only for model MT-6510) *

	CVBS camera test
	1 channel BNC input & 1 channel BNC looped output, NTSC/PAL (Auto adapt) (Only for model MT-6510) *

	Zoom Image
	4x zoom, enlarge image, screen snapshot, save, view and record and playback

	RJ45 cable TDR test
	measurement range 600M.

	HDMI input  
	HDMI input  (Only for model MT-6510) *

	VGA input 
	Support 1280x1024/960/800/768/720P 60FPS, 1152x870P 60FPS, 1024x768P 60FPS, 800x600P 60FPS, 640x480P 60FPS resolution (Only for model MT-6510) *

	Power output
	48V PoE/ 24V2A/ 12V 3A / 5V 2A power output 

	UTP cable test
	Test UTP cable connection status and display on the screen. Read the number on the screen. detect the near-end, mid-end and far-end fault point of RJ45 cable connector, can test shield cable

	RJ45 TDR cable test
	Support cable’s open and short testing, max test 600m

	Data monitor
	Captures and analyzes the command data from controlling device, also can send hexadecimal

	Network test
	Trace route, Link monitor, DHCP server, port flashing, Ping test

	Digital Cable tracer
	Search BNC cable, network cable and telephone cable from the mess cables. Cable tracer and UTP cable test app in the same interface, also can search shield cable

	Electroscope
	Voltage range
	AC12-1000V

	
	Frequency
	50/60Hz

	
	Alarm type
	Sounds and light double alarms

	
	Level
	CAT.III 1000V / CAT.IV 600V;CE

	PoE Voltage test
	Measurement POE switch or PSE power supply voltage and cable connection status

	Visual fault locator
	10mW visual fault locator with 650nm wavelength, emit red laser sources to test multi-mode and single mode fiber’s bending and breakage, test range 8KM 

	Optical power meter
	Wavelength:1625,1550nm,1490nm,1310nm,1300nm,850nm, measurement range ,-70 ～ +10 dBm, for optical power testing and Fiber link loss relative measurement

	Power

	External power supply
	DC 12V（2A）

	Battery
	Built-in 7.4V Li-ion battery, 5200mAh

	Rechargeable
	After charging 2.5 hours, normal working time 11 hours

	Parameter

	Operation setting
	OSD menu, select your desired language: English, Portuguese, Korean, Russian, Italian, French, Polish, Spanish, Japanese, Turkish, Deutsch, Serbian, Czech, Vietnamese etc

	Auto off
	5-30 (mins)

	Working environment

	Working Temperature
	-10℃---+50℃

	Working Humidity
	30%-90%

	Dimension/Weight
	264mm x 182mm x 43mm / 1Kg



	Feature/Model
	MT-6500
	MT-6510
	MT-6800
	MT-6810

	Analog camera test
	x
	√
	x
	√

	IP camera testing
	4K
	4K
	8K
	8K

	8MP AHD/CVI/TVI camera test
	x
	√
	x
	√

	Stable laser sources
	√
	√
	√
	√

	Optical power meter/ Visual fault locator
	√
	√
	√
	√

	Cable tracer/ Advanced network tool
	√
	√
	√
	√

	VGA input
	x
	√
	x
	√

	HDMI input
	x
	√
	x
	√

	HDMI out
	x
	x
	√
	√

	Interface type 
	SC-UPC
	SC-UPC
	FC/SC-UPC
	FC/SC-UPC

	LAN port
	Only one LAN port 
	Only one LAN port
	Dual LAN port
	Dual LAN port

	RJ45 TDR cable test
	Only support cable’s open and short testing , Max up to 600m
	Only support cable’s open and short testing, Max up to 600m
	Support cable ‘s open and shorts attenuation /reflectivity/impedance and skew, Max 180M
	Support cable ‘s opens and shorts attenuation /reflectivity/impedance and skew, Max 180M


Packing list 

1)
Tester

2)
Cable tracer

3)
Adaptor DC12V 2A/ 8GB TF card

4)
Li-ion Battery (7.4V 5200mAh)

5)
Tool bag / DC12V Power cable/BNC cable/ RS485 cable/RS485 port/ Audio cable/ Safety cord

6)
BNC alligator clamp

7)
RJ45 to BNC connector

8)
OTDR test report
MT-6500 series 





Multifunction OTDR combined with CCTV tester，OPM,VFL and VLS    


4K IP H.265 camera testing








New Generation





POE power





UTP cable test





RJ45 TDR length





4K H.265





4 Core CPU





Network Tool





LPDDR4





Digital cable tracer





Optical signal detection 





Max 150KM





VFL





WIFI





OPM





Optical loss test





Laser Source





OTDR





Application


aWI-FI





OTDR





Features








Specifications








Comparison Table











