Smart Dual Light Series | IPC-E1410C-S2-L                      

	4MP Smart Dual Light Fixed-Focal Eyeball Network Camera


 [image: image1.png]



	Camera

	Image Sensor
	1/2.8” CMOS

	Max. Resolution
	4MP

	Scanning System
	Progressive

	Electronic Shutter Speed
	Auto(1/25s ~ 1/1000)

	Min. Illumination
	0.01 Lux @F2.0

	S/N Ratio
	> 56 dB

	Illumination Distance
	IR Light: 30 m, White Light: 20m

	Illuminator Control
	Auto; Manual

	Lens

	Lens Type
	Fixed-Focal

	Focal Length
	2.8mm/3.6mm

	Max. Aperture
	F2.0

	Iris Type
	Auto

	Intelligence

	Human Detection
	Support

	Smart Motion Detection
	Support(based on Human Detection)

	Perimeter Protection
	NA

	Face Detection
	NA

	Object Detection
	NA

	People Counting
	NA

	Heat Map
	NA

	AI Search
	NA

	Video

	Compression
	H.264H; H.264M; H.264B; H.265

	Video Frame Rate
	Main Stream: 4MP (1 fps–25/30 fps) 

	
	Sub Stream: D1 (1 fps–25/30 fps)

	Stream Capability
	2 Streams

	Bit Rate Control
	CBR/VBR

	Video Bit Rate
	H.264: 1792Kbps~4Mbps

	
	H.265: 1792Kbps~4Mbps

	Day/Night
	Color/B/W

	BLC
	Yes

	HLC
	Yes

	WDR
	DWDR

	White Balance
	Yes

	Gain Control
	Auto/Manual

	Noise Reduction
	3D NR

	Motion Detection
	OFF/ON (4 Areas, rectangular)

	Image Rotation
	0°/180°

	Mirror
	Yes

	Privacy Masking
	4 Areas

	Audio

	Built-in Mic
	NA (optional)

	Alarm

	Alarm Event
	Disconnection; IP Conflict; No SD Card; Capacity Warning; SD Card Error 

	Network

	Network
	RJ-45 (10/100 Base-T)

	SDK and API
	Yes

	Network Protocol
	TCP/IP;UDP;HTTP;DHCP;DDNS;FTP;UPNP

	Interoperability
	ONVIF; CGI

	Storage
	SD Card (Optional)

	Browser
	IE: IE8 and later

	Management Software
	PC Software(SVMS)

	Mobile Client
	IOS; Android

	Power

	Power Supply
	12V DC (±30%)/PoE (802.3af)

	Power Consumption
	Max. 3W 

	Environment

	Operating Conditions
	–30°C to +60°C (–22°F to +140°F)/Less than 95% RH

	Storage Conditions
	–40°C to +60°C (–40°F to +140°F)

	Protection Grade
	IP67

	Structure

	Casing
	Inner core+Cover: Metal; Ring Cover:Plastic

	Dimensions
	Φ110mm×97mm

	Net Weight
	430g


4 MP 1/2.8" CMOS Sensor


Support H.264+, H.265+ 


IR Light: 30 m, White Light: 20m


2.8mm fixed lens (3.6mm optional)


12 VDC/PoE power supply


IP67 protection








This datasheet is subject to change without prior notice. Please contact us to get the latest datasheet.

