Lite Series | NVR5108C-8P                 

	8-ch 1 HDD 8 PoE 4K NVR


[image: image1.png]



	Technical Specifications

	System

	OS
	Embedded Linux

	OS Operation Interface
	Web/operating in local GUI

	Perimeter Protection by Camera

	Performance
	8 channels

	Face Detection by Camera

	Performance
	8 channels

	SMD by Camera

	Performance
	8 channels

	Video&Audio Input

	Incoming bandwidth
	96Mbps

	Output bandwidth
	96Mbps

	IPC Input
	8CH

	Video&Audio Output

	VGA
	1920×1080,1280×1024,1280×720,1024×768

	HDMI
	3840×2160,1920×1080,1280×1024,1280×720,1024×768

	Audio Output
	1CH,RCA(Line out,2Vp-p,300ohms)

	Audio Encoding

	Audio Compression
	G.711A

	Audio Bit Rate
	8Kbps(16bit)

	Video&Audio Decoding

	IP channel Resolution
	Up to 3840×2160

	Video decoding
	H.265（Main Profile@L5.0 High-tie）/H.264 Up to High Profile@Level5.0）

	Audio decoding
	G.711A,G711U,G726

	Synchronous Playback
	8CH

	Decoding Ability
	4CH 1080P@30FPS/1CH 4K@30FPS

	Preview

	Synchronous Preview
	8

	Multi-screen Display
	1, 4, 8, 9 views

	Playback

	Record Mode
	Manual; Schedule (general; MD; alarm; intelligent)

	AI Search
	Search by target classification (human, vehicle,non-motor vehicle)

	Backup
	USB device

	Playback Function
	1. Play; pause; stop; fast forward; fast backward; rewind; play by frame
2. Full screen; backup (cut/file); partially enlarge; audio on/off

	Network

	Network Protocol
	HTTP;  TCP/IP; IPv4; UPnP; SNMP; RTSP;UDP; SMTP; NTP; DHCP; DNS; IP Filter; DDNS; FTP; P2P; Auto register

	Mobile Phone Access
	Android; iOS

	Interoperability
	ONVIF; SDK

	Browser
	IE8 or later

	HDD

	SATA 
	1

	ESATA
	0

	Max Capacity
	14 TB

	External Interface

	PoE Ports
	8

	Network Interface
	1 RJ45 100M

	VGA
	1

	HDMI
	1

	CVBS
	0

	USB
	2*USB2.0 on Back Panel

	RCA Input
	1

	RCA Output
	1

	Alarm Input
	0

	Alarm Output
	0

	RS-232
	0

	RS-485
	0

	Other Function

	Two-way  Talk
	Yes

	Alarm Linkage
	Record; Snapshot; Buzzer; Log; Preset; Email

	Picture Capture
	Support JPEG Capture

	General Parameter

	Front Panel
	C

	Packing
	410x293x60mm

	Dimensions
	Mini 1U 215x235x45mm

	Weight
	1.7Kg（No HDD）

	Installation
	Desktop Installation

	Power Supply
	DC 48V/1.875A

	Working Temperature
	 -10℃--＋55℃

	Working Humidity
	10％--90％

	Consumption
	7W(without HDD)

	Certifications

	Certifications
	CE/FCC


Dimensions

[image: image2.png]



Max. 96 Mbps incoming; Max 8 Channel 8MP IPC input;


6-channel 1080P decoding capability; 


Support 4K HDMI output; Up to 8 channels for playback; 8 PoE ports;


Support P2P, APP Alarm Push; Support AI search;


AI by camera: Face Detection, Intrusion, Tripwire(classification of human/vehicles /non-motor), Object Detection, and SMD








This datasheet is subject to change without prior notice. Please contact us to get the latest datasheet.

